## boiler feed
BFS Feed-Pac Quote Request Form |  |  |  | V 2.0
Company:
Name:
Contact Information (email / phone):
Job Name or Reference:
Type of Feed-Pac: |  |  | elevated receiver / low-profile floor mount
Installation: |  |  | indoor / outdoor
Boiler quantity/size (HP):
Boiler operating/design pressure:
Total quantity of pumps (specify if any standby):
Pump discharge pressure:
Pump control: |  |  | on/off or continuous (indicate pressure drop)
Inlet flows: | % make-up, returns and temperatures:
Space limitations?:
Seismic/wind requirements:
Electrical: | Volts / Hertz / Phase:
Pump & accessory options (check choices) |  |  | Basic motor starter package (check choices)
High level alarm switch |  |  | Run lights
Low level alarm switch |  |  | HOA switch
Low-low level pump cut off switch |  |  | On/off switch
Wiring of level switch(es) |  |  | Control circuit transformer
Float sw/solenoid for make-up (ILO std) |  |  | Duplex selector switch
M&M #21 internal m/u feeder (ILO std) |  |  | Triplex selector switch
M&M #25A external m/u feeder (ILO std) |  |  | Duplex electric alternator
Air gap fitting (external make-up valves only) |  |  | OR
Thermometer |  |  | Panel-Pac Control Center (check options)
Brass high temperature return tube |  |  | NEMA #12 enclosure
Magnesium corrosion inhibitor rod |  |  | NEMA #4 enclosure
Chemical injection quill (specify quantity) |  |  | Motor disconnect switches
Tank drain valve |  |  | Motor fuses
Heavier tank thickness |  |  | Motor circuit breakers (ILO fuses)
Galvanized tank |  |  | Control circuit disconnect switch
Stainless steel tank construction |  |  | Main power disconnect switch
Dished heads (ILO flat heads) |  |  | Control circuit transformer
Handhole 3"x4" |  |  | Lead pump selector switch
Manhole 12"x16" |  |  | Duplex electric pump alternator
Manhole 18" diameter |  |  | Hi/lo level alarm lights, horn, silence sw
Additional tank connections (specify below) |  |  | Additional alarms (specify details below)
BFS tank insulation R-12.5 |  |  | Low water pump cut off relay
Steam Pre-Heat System: |  | injection type | Lead/lag system (requires sensing switch)
|  | coil type | Additional lights (specify details below)
|  | regulator 3-valve bypass | Pump running time meters
TEFC motors |  |  | U.L. label
Pump discharge pressure gauge |  |  | Auxilliary contacts for remote monitoring
Pump discharge piping |  |  | NEMA starters (in lieu of standard IEC)
Pump discharge throttle valve(s) |  |  | PLC/touchscreen (specify functions below)
Pump recirc piping (if continuous run pumps) |  |  | Variable frequency drives
Indicate any additional requirements or special features below: